# 📘 DOCUMENT 7

# Physical Infrastructure & MESOB Building Setup Blueprint

## Hawassa MESOB One-Stop Service Center

Prepared For:
H.E. Mayor Tiratu Beyene
Hawassa City Administration

Prepared By:
Chief Enterprise Architect & Lead Consultant
Hawassa MESOB One-Stop Service Program

# PART 1

(Sections 1–5: Facility Design Philosophy, Spatial Zoning Plan, Service Window Modeling, Capacity & Throughput Planning, Core Physical Infrastructure Requirements)

# 1. FACILITY DESIGN PHILOSOPHY

The MESOB One-Stop Service Center must not resemble a traditional government office.

It must be:

- Efficient

- Transparent

- Digitally enabled

- Citizen-centric

- Performance-driven

- Scalable for future expansion

The building must reflect reform.

Citizens should immediately experience:

- Order

- Clarity

- Reduced confusion

- Professional service environment

## 1.1 Design Objectives

The building must:

- Support 47 Phase 1 services

- Accommodate 1,000–2,500 daily transactions

- Allow 50–70 concurrent service interactions

- Provide space for technical infrastructure

- Enable secure operations

- Support Phase 2 expansion without major redesign

# 2. SPATIAL ZONING PLAN

The building must be divided into functional zones.

## 2.1 Zone A – Public Reception & Queue Area

Functions:

- Entry screening

- Service selection kiosk

- Ticket issuance

- Waiting area

- Information desk

Requirements:

- Digital queue display screens

- Seating for minimum 150–250 people

- Clear service categorization boards

- Public announcement system

## 2.2 Zone B – Service Counter Hall

Primary operational zone.

Must include:

- 25–40 service counters (Phase 1 target: 30)

- Each counter equipped with:

  - Desktop PC

  - Dual monitors

  - Receipt printer

  - POS terminal

  - Document scanner

  - Secure storage drawer

Counters grouped by service domain:

- Land counters (8–10)

- Revenue counters (6–8)

- Trade & Investment counters (6–8)

- Health/Education counters (3–4)

- General inquiry & complaint counters (2–3)

## 2.3 Zone C – Bureau Review Offices

Back-office review rooms for:

- Land officers

- Revenue validation staff

- Technical review teams

Purpose:

- Digital approval processing

- Document verification

- Escalation resolution

Minimum 6–10 offices required.

## 2.4 Zone D – Management & Executive Area

Includes:

- MESOB Director office

- SLA Monitoring Unit office

- Technical support office

- Meeting room

- Executive review room

## 2.5 Zone E – Secure Infrastructure Room

Restricted access.

Must contain:

- Network core switch

- Firewall

- Server racks (if local hardware)

- UPS system

- Backup appliance

Security requirements:

- Biometric access

- CCTV monitoring

- Environmental control

## 2.6 Zone F – Document Archival Room

For:

- Temporary storage of scanned legacy records

- Physical backup files (if required)

Phase 1 goal:

Minimize physical storage dependency.

# 3. SERVICE WINDOW MODELING

Service windows must be optimized by transaction type.

## 3.1 Counter Time Estimation

Average processing time per service:

| Service Category | Avg Processing Time |
| --- | --- |
| Revenue Payment | 5–10 minutes |
| License Renewal | 10–15 minutes |
| Lease Transfer | 20–30 minutes |
| Investment Registration | 20–40 minutes |

Weighted average across services:

~15 minutes per transaction

## 3.2 Throughput Calculation

If:

- 30 counters operational

- Each handles 4 transactions per hour

- 8-hour service day

Daily capacity:

30 × 4 × 8 = 960 transactions/day

With peak optimization & quick services:

Can scale to 1,200–1,500/day

Matches projected Phase 1 load.

## 3.3 Counter Distribution Strategy

Counters must be:

Flexible and reassignable.

System must allow:

- Dynamic service reallocation

- Peak-hour balancing

- Real-time performance monitoring

# 4. CAPACITY & MANPOWER PLANNING

## 4.1 Required Staffing (Phase 1)

### Counter Staff

- 30 service officers

- 5 floating backup officers

### Bureau Review Officers

- Land: 4–6

- Revenue: 3–4

- Trade/Investment: 3–4

- Health/Education: 2–3

### Technical Staff

- 1 IT infrastructure manager

- 2 IT support officers

- 1 integration coordinator

### Management

- MESOB Director

- SLA Monitoring Officer

- Finance reconciliation officer

Estimated Total Staff:

55–70 personnel

## 4.2 Shift Model (Optional)

If demand increases:

Introduce staggered shifts:

- Morning shift

- Afternoon shift

Building must allow 12-hour extended operation if needed.

# 5. CORE PHYSICAL INFRASTRUCTURE REQUIREMENTS

## 5.1 Electrical Infrastructure

Must include:

- Dedicated power distribution panel

- UPS coverage for:

  - All counters

  - Network core

  - Servers

- Generator backup

- Surge protection

## 5.2 Structured Cabling

- CAT6 or higher cabling

- Central patch panel

- Labelled network ports per counter

- Separate VLAN for security zones

## 5.3 Environmental Controls

- Air conditioning for counter hall

- Climate control for server room

- Fire detection & suppression

- Emergency lighting

## 5.4 Accessibility Requirements

Building must include:

- Disability-accessible entry

- Accessible counters

- Clear signage

- Crowd flow management design

## 5.5 Security Infrastructure

- CCTV coverage

- Access control system

- Visitor logging

- Security personnel desk

# PHYSICAL CAPACITY SUMMARY (PART 1)

The MESOB building must support:

✔ 30+ counters
✔ 1,000–1,500 daily transactions
✔ 55–70 staff
✔ Secure infrastructure room
✔ Structured network & power redundancy
✔ Public comfort & accessibility

This physical blueprint aligns with Phase 1 digital architecture.

# END OF DOCUMENT 7 – PART 1

Covered:

✔ Facility design philosophy
✔ Spatial zoning model
✔ Service window modeling
✔ Capacity planning
✔ Core infrastructure requirements

Reply with:

“Proceed with Document 7, Part 2.”

Next we will produce:

✔ Detailed hardware placement plan
✔ Network topology inside building
✔ Queue system deployment plan
✔ Expansion readiness for Phase 2
✔ Cost drivers & renovation considerations.

# 📘 DOCUMENT 7

# Physical Infrastructure & MESOB Building Setup Blueprint

## Hawassa MESOB One-Stop Service Center

PART 2
(Sections 6–10: Hardware Placement Plan, Internal Network Topology, Queue System Deployment, Phase 2 Expansion Readiness, Renovation Cost Drivers)

# 6. DETAILED HARDWARE PLACEMENT PLAN

The hardware layout must directly support the enterprise architecture defined in Document 6.

Physical placement must ensure:

- Operational efficiency

- Security segmentation

- Maintainability

- Future scalability

## 6.1 Service Counter Hardware Layout

Each of the 30 Phase 1 counters must include:

- Desktop workstation (minimum i5 equivalent or higher)

- Dual monitor setup (one internal, one citizen-facing optional)

- Thermal receipt printer

- POS terminal (integrated with payment gateway)

- Document scanner (flatbed or compact high-speed)

- Token display indicator (linked to queue system)

- Secure drawer for cash handling (where applicable)

Power & Network:

- Dedicated network port (VLAN-segmented)

- Dedicated power socket (UPS-backed)

- Cable management concealed for security

## 6.2 Bureau Review Office Equipment

Each review officer desk must include:

- Desktop or laptop workstation

- Dual monitors (for document review)

- Secure network port

- Access to document management system

Shared resources:

- High-speed network printer

- Large-format scanner (for land maps)

- Secure file storage cabinet (temporary only)

## 6.3 Infrastructure Room Hardware Placement

Server Rack Layout (if on-prem equipment used):

Top Rack:

- Core switch

- Firewall appliance

- Router

Middle Rack:

- Application server(s)

- Database server(s)

- Storage appliance

Lower Rack:

- Backup appliance

- Patch panel

- Power distribution unit (PDU)

UPS units must be floor-mounted with ventilation clearance.

## 6.4 CCTV & Security Equipment Placement

Cameras must cover:

- Entrance

- Waiting area

- All service counters

- Infrastructure room entrance

- Cash handling areas

All camera feeds must route to:

- Secure monitoring console

- Storage system with minimum 30-day retention

# 7. INTERNAL NETWORK TOPOLOGY

The internal building network must mirror the logical security zoning.

## 7.1 Core Network Architecture

Internet/Fiber Entry
↓
Edge Router
↓
Firewall
↓
Core Switch
↓
Access Switches (per zone)

## 7.2 VLAN Segmentation Model

Minimum VLAN separation:

- VLAN 1: Service Counters

- VLAN 2: Bureau Review Offices

- VLAN 3: Server/Infrastructure

- VLAN 4: Management & Admin

- VLAN 5: CCTV

- VLAN 6: Guest Wi-Fi (if provided)

No cross-zone traffic without firewall policy control.

## 7.3 Redundancy Requirements

- Dual uplinks from core switch

- Backup ISP link

- Automatic failover configuration

- Redundant power supply for core switch

# 8. QUEUE SYSTEM DEPLOYMENT PLAN

Queue system must integrate with workflow engine.

It must not operate independently.

## 8.1 Queue Components

- Ticket issuance kiosk (2–4 units)

- Digital display screens (5–10 across hall)

- Counter display indicators

- Central queue server (or cloud module)

- SMS notification module (optional)

## 8.2 Queue-to-Service Integration

When citizen selects service:

- Ticket generated

- Service category logged

- Workflow instance pre-created

- Counter assignment triggered

- SLA timer initiated upon service start

Queue system must feed analytics dashboard.

## 8.3 Performance Metrics Captured

Queue system must capture:

- Average waiting time

- Service time per counter

- Peak-hour distribution

- Counter utilization rate

These feed into:

- SLA monitoring dashboard

- Monthly executive review

# 9. PHASE 2 EXPANSION READINESS

The building must allow expansion without major structural redesign.

## 9.1 Counter Expansion Capacity

Design hall to allow:

- Additional 10 counters (Phase 2)

- Movable partitions

- Modular furniture configuration

## 9.2 Infrastructure Scalability

Server room must support:

- Additional rack space

- 50% additional cooling capacity

- Expanded UPS load

- Additional fiber ports

## 9.3 Space Allocation Buffer

Reserve:

- 1–2 rooms for future GIS unit

- 1 additional meeting room

- Storage for digitization equipment

# 10. RENOVATION COST DRIVERS

Major cost categories include:

- Civil works (partitioning, flooring, painting)

- Electrical upgrades

- Structured cabling installation

- HVAC installation

- Security system installation

- Furniture & counter construction

- Server room construction

- Accessibility modifications

Cost variables depend on:

- Existing building condition

- Square meter size

- Electrical capacity of current structure

## 10.1 Renovation Risk Factors

- Underestimated electrical upgrade need

- Insufficient cooling for server room

- Overcrowding risk due to underestimated traffic

- Poor acoustic planning causing noise issues

Mitigation:

Pre-renovation technical assessment required.

# PHYSICAL INFRASTRUCTURE SUMMARY

The MESOB building must be:

✔ Digitally integrated
✔ Securely segmented
✔ Capacity-aligned with transaction projections
✔ Scalable for Phase 2
✔ Professionally designed for citizen experience

The physical environment must reflect the seriousness of governance reform.

# DOCUMENT 7 COMPLETE

This concludes:

✔ Hardware placement plan
✔ Internal network topology
✔ Queue system deployment
✔ Expansion readiness planning
✔ Renovation cost drivers

Reply with:

“Proceed with Document 8, Part 1.”

Next we begin:

Comprehensive Procurement & Bill of Quantities (BoQ)
(Strictly aligned to Ethio Telecom Sidama region item list and mapped to Hawassa MESOB acquisition demand).