## Forensic BoQ Analysis and Negot
No. | Original Item | Description | Qty | Orig. Unit Price (ETB) | Orig. Total (ETB) | Spec Assessment | Observations | Critical Issues | Alt. Spec (Proposed) | Justification | Cost Reduction | Sourcing | Questions for Vendor | Negotiation Strategy | Recommendation
8 | 42U Rack | 64x19 profiles, 800kg load | 1 | 427670.25 | 427670.25 | Overpriced | Passive metal framing. | 400%+ markup on passive local infrastructure. | Standard Perforated 42U Server Rack | Metal racks do not require telecom integrations; they are standard commodities. | High (~75%) | Local IT Dist. | "Can Hawassa supply its own 42U rack meeting these exact dimensions?" | Unbundle. Do not buy metal from ISPs. | Procure Independently
9 | 22U Rack | 600x1000 Server Rack | 3 | 202810.32 | 608430.96 | Overpriced | Passive metal framing. | High middleman markup. | Standard Perforated 22U Rack | See above. | High (~70%) | Local IT Dist. | "Can we substitute these with locally fabricated/sourced racks?" | Unbundle. | Procure Independently
10 | 40KVA Centralized UPS | 40KVA, Lithium/Lead, SNMP | 1 | 11088000 | 11088000 | Hyper-Inflated | Astronomically priced. | Predatory margin (~10x global retail for APC/Vertiv). | 2x 20KVA Enterprise UPS (APC/Vertiv) | Cloud-edge architecture uses less local power. 11M ETB is an audit disaster. | High (~80%) | Local Power Dist. | "Provide the exact Make/Model. Will you price-match an authorized local distributor?" | Threaten to drop from BoQ unless unit price drops below 3M ETB. | Procure Independently
11 | Wi-Fi Access Point | Wi-Fi 6 (802.11ax) Indoor | 6 | 451878 | 2711268 | Inflated | Nearly $4k USD per AP. | Unjustifiable hardware premium for standard Wi-Fi 6. | Enterprise Cloud-Managed AP (Cisco/Ubiquiti) | Core connectivity is necessary, but standard enterprise APs cost 80k-120k ETB. | Medium (~70%) | Ethio Telecom | "Provide the Cisco/Aruba part number justifying a 451k ETB unit price." | Retain, but force standard distribution pricing. | Modify & Retain
12 | Wi-Fi AP Controller | Hardware Controller | 1 | 1064155.8 | 1064155.8 | Obsolete | 1M ETB hardware for just 6 APs. | Architectural flaw; pushing unnecessary hardware. | Virtual or Cloud-Managed Controller | Modern AP deployments of this scale utilize cloud/VM controllers (zero hardware cost). | High (100%) | N/A | "Why propose a 1M ETB physical hardware controller for only 6 APs?" | Strike from BoQ entirely. Demand cloud architecture. | Eliminate
No. | Original Item | Description | Qty | Orig. Unit Price (ETB) | Orig. Total (ETB) | Spec Assessment | Observations | Critical Issues | Alt. Spec (Proposed) | Justification | Cost Reduction | Sourcing | Questions for Vendor | Negotiation Strategy | Recommendation
1 | Ticket Dispenser Kiosk | 32" Panel, Intel i3, 4GB RAM | 2 | 5239800 | 10479600 | Extortionate | Bottom-tier i3 processor inside a 5.2M box. | Vendor software lock-in; predatory pricing. | Android/PC Touch Kiosk (<350k ETB) | Queuing runs via web APIs. A 5.2M ETB kiosk is an audit violation. | High (~90%) | Local Hardware | "What proprietary tech inside this i3 Kiosk justifies a 5.2 Million ETB price tag?" | Extract hardware. Demand API documentation for HU GovTech integration. | Procure Independently
18 | Laptop Core i7 | Dell Pro14 (16GB/512GB) | 48 | 234782.61 | 11269565.22 | Over-Engineered | Spec is for engineering/CAD. | Severe over-provisioning for web portals; theft risk. | Core i3/i5 Small Form Factor (SFF) Desktops | E-governance is browser-based. SFFs are cheaper, wired, and secure. | Medium (~50%) | Local IT Dist. | "What specific technical workload justifies i7 laptops for browser data entry?" | Strike all laptops. Enforce "Desktop-First" policy locally. | Procure Independently
19 | Multi-Function Printer | General MFP | 2 | 642000 | 1284000 | Ambiguous | No specs provided. | Hiding margin behind vague descriptions. | Enterprise Laser MFP (Specific PPM) | Cannot approve 642k without duty-cycle and PPM specifications. | Medium (TBD) | Local IT Dist. | "What is the exact Pages-Per-Minute (PPM) and brand of this machine?" | Extract from telecom BoQ; buy via local standard tender. | Procure Independently
20 | Call Center Desktop | Dell OptiPlex i7 | 3 | 200000 | 600000 | Over-Engineered | Call routing does not need i7. | Over-spec. | SFF Core i3 Desktop | Web-based VoIP routing. | Medium (~50%) | Local IT Dist. | "Why i7 processors for VoIP agents?" | Procure with counter PCs. | Procure Independently
21 | Head/Mic | Workstation Headset | 3 | 20697.63 | 62092.88 | Justified | Standard pricing. | None. | Standard Call Center Headset | Matches market rate. | Low (0%) | Local IT Dist. | None. | Procure locally to keep endpoints unbundled. | Procure Independently
No. | Original Item | Description | Qty | Orig. Unit Price (ETB) | Orig. Total (ETB) | Spec Assessment | Observations | Critical Issues | Alt. Spec (Proposed) | Justification | Cost Reduction | Sourcing | Questions for Vendor | Negotiation Strategy | Recommendation
5 | Situation Room Video Wall | 43" Displays (2x2) | 4 | 1250000 | 5000000 | Redundant | Overlaps with LED Wall. | Visual excess for Phase 1. 1.25M per 43" is inflated. | Eliminate | One public LED wall is sufficient for Day 1 launch. | High (100%) | N/A | "Why is an 8.4M Situation Room necessary alongside a 12.6M LED wall?" | Strike entirely as a deferred Phase 2 luxury. | Eliminate
6 | Video Wall Support Structure | Metal Wall Mounts | 4 | 600000 | 2400000 | Hyper-Inflated | 600k to hold a 43" TV. | Extortionate pricing on passive metal brackets. | Local Fabrication | Metal is metal. | High (100%) | N/A | "Are you charging 600,000 ETB for a metal VESA mount?" | Strike entirely with Video Wall. | Eliminate
7 | Video Wall Decoder | Decoder Unit | 1 | 1050000 | 1050000 | Redundant | Ties to Video Wall. | N/A | Eliminate | Decoder deleted with wall. | High (100%) | N/A | None. | Strike entirely. | Eliminate
14 | Window Display Screen | 21" LCD | 48 | 297228.81 | 14266982.71 | Overpriced | ~300k for a 21" screen. | Likely bundling proprietary signage licenses into hardware. | Standard 21/24" IPS Monitor | Basic monitor connected to SFF desktop browser handles queuing display. | High (~90%) | Local IT Dist. | "Does this include perpetual software licenses, or is this purely hardware?" | Extract and procure standard monitors locally. | Procure Independently
15 | Comprehensive Display | 65" LCD | 3 | 887617.5 | 2662852.5 | Redundant | Clutters waiting area. | Duplicates LED wall function. | Eliminate | Centralize all queuing on the LED board. | High (100%) | N/A | "Why are these needed when we have an 11.5m2 LED board?" | Strike entirely. | Eliminate
27 | LED Screen (Indoor) | Pixel Pitch 1.8 | 11.5 | 1097418 | 12620307 | Justified | Core public display. | High CAPEX concentration. | Keep | Replaces all other screens in facility. | Low (0%) | Ethio Telecom | "What is the specific brand of LED modules?" | Retain as the only major visual system. | Retain
28 | LED Controller | 3-in-1 Controller | 1 | 782717.25 | 782717.25 | Justified | Core component. | None. | Keep | Required for LED. | Low (0%) | Ethio Telecom | None. | Retain. | Retain
29 | LED Structure | Customized Pole/Frame | 11.5 | 132335.7 | 1521860.55 | Overpriced | Sidama was charged 106k/m2. | 25% markup vs Sidama for passive metal. | Local Fabrication | Sidama benchmark proves inflation. | Medium (~25%) | Local Fab. | "Why is Hawassa paying 132K per m2 when Sidama paid 106K for metal?" | Force price match to Sidama or build locally. | Modify
30 | LED Power Box | Power Distribution | 1 | 538042.5 | 538042.5 | Justified | Core component. | None. | Keep | Required for LED. | Low (0%) | Ethio Telecom | None. | Retain. | Retain
No. | Original Item | Description | Qty | Orig. Unit Price (ETB) | Orig. Total (ETB) | Spec Assessment | Observations | Critical Issues | Alt. Spec (Proposed) | Justification | Cost Reduction | Sourcing | Questions for Vendor | Negotiation Strategy | Recommendation
2026-01-04 | Surveillance Cameras & NVR | AI Bullet/Dome, PTZ, 32CH NVR | 17 | (Varies) | 1900000 | Mixed | Cameras OK; NVR heavily inflated (459k/ea). | VMS lock-in risk. | Standard IP ONVIF Cameras + Local NVR | 32CH NVRs cost <100k locally. | Medium (~50%) | Local Security | "Do these cameras require proprietary VMS, or are they ONVIF open-standard?" | Retain cameras if ONVIF. Unbundle NVRs to local sourcing. | Modify & Split
16 | Ceiling Loudspeaker | 6W RMS | 6 | 150640 | 903840 | Inflated | 150k for an analog 6W speaker. | Massive margin on basic PA parts. | Commercial 6W Speaker | Local hardware is identical. | High (~90%) | Local Hardware | "How does Ethio Telecom justify 150,640 ETB for a passive 6W analog speaker?" | Unbundle entirely. | Procure Independently
17 | Speaker-Controller Amp | PA Amplifier | 3 | 492000 | 1476000 | Arch. Error | 3 Amps for 6 speakers. | 1:2 Ratio is technical nonsense. | 1x Standard PA Amp | 1 Amp easily drives dozens of 6W speakers. | High (~80%) | Local Hardware | "Why are 3 separate amplifiers specified to drive only 6 speakers?" | Unbundle entirely. | Procure Independently
22-24 | Office Furniture | Tables, Chairs, Cabinets | 9 | (Varies) | 460000 | Misaligned | IT vendor selling MDF wood. | Middleman markup (Sidama paid 52M). | Standard Municipal Furniture | Support local Hawassa furniture economy. | High (~50%) | Local Supply | "We noticed Sidama paid 52M for furniture. We are striking all MDF from this BoQ." | Extract all furniture. Do not allow telecom to act as general contractor. | Eliminate
25 | Biometric Device | Face/Palm/Finger | 1 | 375000 | 375000 | Justified | Necessary hardware. | API lock-in risk. | Open-API Biometric Reader | Must integrate with EAII. | Low (0%) | Ethio/Local | "Does this hardware support open API calls to third-party databases?" | Retain if open API; otherwise source locally. | Retain (Conditionally)
26 | Attendance System | Software & Customization | 1 | 2100000 | 2100000 | Redundant | EAII has federal HRMS. | Waste of software licensing fees. | Hawassa Uni (HU) Custom API Bridge | Prevents vendor lock-in. Builds local tech capacity. | High (100%) | Internal (HU) | "Since EAII provides federal HRMS, why are we buying redundant software?" | Strike entirely. Use HU GovTech lab for integration. | Eliminate
No. | Original Item | Description | Qty | Orig. Unit Price (ETB) | Orig. Total (ETB) | Spec Assessment | Observations | Critical Issues | Alt. Spec (Proposed) | Justification | Cost Reduction | Sourcing | Questions for Vendor | Negotiation Strategy | Recommendation
31 | Install Package LED | Cables/Jumpers | 1 | 177523.5 | 177523.5 | Double Billing | Installation billed here AND in Line 33. | Double dipping. | Remove | LED labor should be in main installation or base cost. | High (100%) | N/A | "Why are we billed for LED installation here, and again in the 19.7M general line?" | Strike. Force consolidation. | Eliminate
32 | Accessories Package | Unitemized Cables/Mounts | 1 | 11982044.92 | 11982044.92 | Illegal | 12M ETB blank check. | Violates municipal auditing laws. | Granular Bill of Materials (BoM) | Cannot approve lump sums for "accessories". Sidama was charged 17M. | High (TBD) | N/A | "Provide a line-by-line BoM with unit costs for this 11.9M ETB within 48 hours." | Suspend approval immediately. Refuse to pay without itemization. | Suspend & Audit
33 | Install & Commission | Device Design & Install | 1 | 19770374.12 | 19770374.12 | Overpriced | ~15% of total hardware cost. | Arbitrary percentage fee, not based on man-hours. | Time & Materials Labor Quote | Cap installation at 5% of the right-sized core network total. | Medium (~60%) | N/A | "Provide a breakdown of this 19.7M by man-hours and engineer hourly rates." | Reject flat percentage. Pay only for actual engineering time. | Modify & Negotiate